## Daily 2016
Effluent 7 - Sample Type: Water
Wastewater Treatment Plant
Date | Total Coliforms Results | Fecal Coliforms Results | Total Coliforms Units | Fecal Coliforms Units | Turbidity | Units
2016-01-04 | ND | ND | 100mL | 100mL
2016-01-05 | ND | ND | 100mL | 100mL
2016-01-06 | ND | ND | 100mL | 100mL
2016-01-07 | ND | ND | 100mL | 100mL
2016-01-08 | ND | ND | 100mL | 100mL
2016-01-11 | ND | ND | 100mL | 100mL
2016-01-12 | 1.8 | ND | 100mL | 100mL
2016-01-13 | ND | ND | 100mL | 100mL
2016-01-14 | ND | ND | 100mL | 100mL
2016-01-15 | ND | ND | 100mL | 100mL
2016-01-18 | ND | ND | 100mL | 100mL
2016-01-19 | ND | ND | 100mL | 100mL
2016-01-20 | ND | ND | 100mL | 100mL
2016-01-21 | ND | ND | 100mL | 100mL
2016-01-22 | ND | ND | 100mL | 100mL
2016-01-25 | ND | ND | 100mL | 100mL
2016-01-26 | ND | ND | 100mL | 100mL
2016-01-27 | ND | ND | 100mL | 100mL
2016-01-28 | ND | ND | 100mL | 100mL
2016-01-29 | ND | ND | 100mL | 100mL
2016-02-01 | ND | ND | 100mL | 100mL
2016-02-02 | ND | ND | 100mL | 100mL
2016-02-03 | ND | ND | 100mL | 100mL
2016-02-04 | ND | ND | 100mL | 100mL
2016-02-05 | ND | ND | 100mL | 100mL
2016-02-09 | ND | ND | 100mL | 100mL
2016-02-10 | ND | ND | 100mL | 100mL
2016-02-11 | ND | ND | 100mL | 100mL
2016-02-12 | ND | ND | 100mL | 100mL
2016-02-16 | ND | ND | 100mL | 100mL
2016-02-17 | ND | ND | 100mL | 100mL
2016-02-18 | ND | ND | 100mL | 100mL
2016-02-19 | ND | ND | 100mL | 100mL
2016-02-22 | ND | ND | 100mL | 100mL
2016-02-23 | ND | ND | 100mL | 100mL
2016-02-24 | ND | ND | 100mL | 100mL
2016-02-25 | ND | ND | 100mL | 100mL
2016-02-26 | ND | ND | 100mL | 100mL
2016-02-29 | ND | ND | 100mL | 100mL
2016-03-02 | ND | ND | 100mL | 100mL
2016-03-03 | ND | ND | 100mL | 100mL
2016-03-04 | ND | ND | 100mL | 100mL
2016-03-07 | ND | ND | 100mL | 100mL
2016-03-08 | ND | ND | 100mL | 100mL
2016-03-09 | ND | ND | 100mL | 100mL
2016-03-10 | ND | ND | 100mL | 100mL
2016-03-11 | ND | ND | 100mL | 100mL
2016-03-14 | ND | ND | 100mL | 100mL
2016-03-15 | ND | ND | 100mL | 100mL
2016-03-16 | ND | ND | 100mL | 100mL
2016-03-17 | ND | ND | 100mL | 100mL
2016-03-18 | ND | ND | 100mL | 100mL
2016-03-21 | 4.5 | ND | 100mL | 100mL
2016-03-22 | 4.5 | ND | 100mL | 100mL
2016-03-23 | ND | ND | 100mL | 100mL
2016-03-24 | ND | ND | 100mL | 100mL
2016-03-25 | ND | ND | 100mL | 100mL
2016-03-28 | 540 | 540 | 100mL | 100mL
2016-03-29 | 2 | 2 | 100mL | 100mL
2016-03-30 | ND | ND | 100mL | 100mL
2016-03-31 | ND | ND | 100mL | 100mL
2016-04-01 | ND | ND | 100mL | 100mL
2016-04-04 | 49 | 49 | 100mL | 100mL
2016-04-05 | 41 | 4.5 | 100mL | 100mL
2016-04-06 | 4.5 | 2 | 100mL | 100mL
2016-04-07 | ND | ND | 100mL | 100mL
2016-04-08 | ND | ND | 100mL | 100mL
2016-04-11 | ND | ND | 100mL | 100mL
2016-04-12 | ND | ND | 100mL | 100mL
2016-04-13 | ND | ND | 100mL | 100mL
2016-04-14 | ND | ND | 100mL | 100mL
2016-04-15 | ND | ND | 100mL | 100mL
2016-04-18 | ND | ND | 100mL | 100mL
2016-04-19 | ND | ND | 100mL | 100mL
2016-04-20 | 350 | 2 | 100mL | 100mL
2016-04-21 | ND | ND | 100mL | 100mL
2016-04-22 | ND | ND | 100mL | 100mL
2016-04-25 | 350 | 1.8 | 100mL | 100mL
2016-04-26 | ND | ND | 100mL | 100mL
2016-04-27 | ND | ND | 100mL | 100mL
2026-04-28 | ND | ND | 100mL | 100mL
2016-04-29 | ND | ND | 100mL | 100mL
2016-05-02 | ND | ND | 100mL | 100mL
2016-05-03 | ND | ND | 100mL | 100mL
2016-05-04 | ND | ND | 100mL | 100mL
2016-05-05 | ND | ND | 100mL | 100mL
2016-05-06 | ND | ND | 100mL | 100mL
2016-05-09 | ND | ND | 100mL | 100mL
2016-05-10 | ND | ND | 100mL | 100mL
2016-05-11 | ND | ND | 100mL | 100mL
2016-05-12 | ND | ND | 100mL | 100mL
2016-05-13 | ND | ND | 100mL | 100mL
2016-05-16 | ND | ND | 100mL | 100mL
2016-05-17 | ND | ND | 100mL | 100mL
2016-05-18 | ND | ND | 100mL | 100mL
2016-05-19 | ND | ND | 100mL | 100mL
2016-05-20 | ND | ND | 100mL | 100mL
2016-05-23 | ND | ND | 100mL | 100mL
2016-05-24 | ND | ND | 100mL | 100mL
2016-05-25 | ND | ND | 100mL | 100mL
2016-05-26 | ND | ND | 100mL | 100mL
2016-05-31 | ND | ND | 100mL | 100mL
2016-06-01 | 6.8 | ND | 100mL | 100mL
2016-06-02 | ND | ND | 100mL | 100mL
2016-06-03 | ND | ND | 100mL | 100mL
2016-06-06 | ND | ND | 100mL | 100mL
2016-06-07 | 22 | ND | 100mL | 100mL
2016-06-08 | 33 | ND | 100mL | 100mL
2016-06-09 | ND | ND | 100mL | 100mL
2016-06-13 | ND | ND | 100mL | 100mL
2016-06-14 | ND | ND | 100mL | 100mL
2016-06-15 | ND | ND | 100mL | 100mL
2016-06-16 | ND | ND | 100mL | 100mL
2016-06-17 | ND | ND | 100mL | 100mL
2016-06-20 | ND | ND | 100mL | 100mL
2016-06-21 | ND | ND | 100mL | 100mL
2016-06-22 | ND | ND | 100mL | 100mL
2016-06-23 | ND | ND | 100mL | 100mL
2016-06-24 | ND | ND | 100mL | 100mL
2016-06-28 | ND | ND | 100mL | 100mL
2016-06-29 | ND | ND | 100mL | 100mL
2016-06-30 | 2 | ND | 100mL | 100mL
2016-07-01 | ND | ND | 100mL | 100mL
2016-07-06 | ND | ND | 100mL | 100mL
2016-07-07 | ND | ND | 100mL | 100mL
2016-07-08 | ND | ND | 100mL | 100mL
2016-07-11 | ND | ND | 100mL | 100mL
2016-07-12 | ND | ND | 100mL | 100mL
2016-07-13 | ND | ND | 100mL | 100mL
2016-07-14 | ND | ND | 100mL | 100mL
2016-07-15 | ND | ND | 100mL | 100mL
2016-07-18 | ND | ND | 100mL | 100mL
2016-07-19 | ND | ND | 100mL | 100mL
2016-07-20 | ND | ND | 100mL | 100mL
2016-07-21 | ND | ND | 100mL | 100mL
2016-07-22 | ND | ND | 100mL | 100mL
2016-07-25 | ND | ND | 100mL | 100mL
2016-07-26 | ND | ND | 100mL | 100mL
2016-07-27 | ND | ND | 100mL | 100mL
2016-07-28 | ND | ND | 100mL | 100mL
2016-07-29 | ND | ND | 100mL | 100mL
2016-08-01 | ND | ND | 100mL | 100mL
2016-08-02 | ND | ND | 100mL | 100mL
2016-08-03 | ND | ND | 100mL | 100mL
2016-08-04 | ND | ND | 100mL | 100mL
2016-08-05 | ND | ND | 100mL | 100mL
2016-08-08 | ND | ND | 100mL | 100mL
2016-08-09 | ND | ND | 100mL | 100mL
2016-08-10 | ND | ND | 100mL | 100mL
2016-08-11 | ND | ND | 100mL | 100mL
2016-08-12 | ND | ND | 100mL | 100mL
2016-08-15 | ND | ND | 100mL | 100mL
2016-08-16 | ND | ND | 100mL | 100mL
2016-08-17 | ND | ND | 100mL | 100mL
2016-08-18 | ND | ND | 100mL | 100mL
2016-08-19 | ND | ND | 100mL | 100mL
2016-08-22 | ND | ND | 100mL | 100mL
2016-08-23 | ND | ND | 100mL | 100mL
2016-08-24 | ND | ND | 100mL | 100mL
2016-08-25 | ND | ND | 100mL | 100mL
2016-08-26 | ND | ND | 100mL | 100mL
2016-08-29 | ND | ND | 100mL | 100mL
2016-08-30 | ND | ND | 100mL | 100mL
2016-08-31 | 240 | ND | 100mL | 100mL
2016-09-01 | ND | ND | 100mL | 100mL
2016-09-02 | ND | ND | 100mL | 100mL
2016-09-07 | ND | ND | 100mL | 100mL
2016-09-09 | ND | ND | 100mL | 100mL
2016-09-12 | ND | ND | 100mL | 100mL
2016-09-13 | ND | ND | 100mL | 100mL
2016-09-14 | ND | ND | 100mL | 100mL
2016-09-15 | ND | ND | 100mL | 100mL
2016-09-16 | ND | ND | 100mL | 100mL
2016-09-19 | ND | ND | 100mL | 100mL
2016-09-20 | ND | ND | 100mL | 100mL
2016-09-21 | ND | ND | 100mL | 100mL
2016-09-22 | ND | ND | 100mL | 100mL
2016-09-23 | ND | ND | 100mL | 100mL
2016-09-26 | ND | ND | 100mL | 100mL
2016-09-27 | 2 | ND | 100mL | 100mL
2017-09-28 | 2 | 2 | 100mL | 100mL
2017-09-29 | ND | ND | 100mL | 100mL
2017-09-30 | ND | ND | 100mL | 100mL
2016-10-03 | ND | ND | 100mL | 100mL
2016-10-04 | ND | ND | 100mL | 100mL
2016-10-05 | ND | ND | 100mL | 100mL
2016-10-07 | ND | ND | 100mL | 100mL
2016-10-10 | ND | ND | 100mL | 100mL
2016-10-11 | ND | ND | 100mL | 100mL
2016-10-12 | ND | ND | 100mL | 100mL
2016-10-13 | ND | ND | 100mL | 100mL
2016-10-14 | ND | ND | 100mL | 100mL
2016-10-17 | ND | ND | 100mL | 100mL
2016-10-18 | ND | ND | 100mL | 100mL
2016-10-19 | 4 | ND | 100mL | 100mL
2016-10-20 | ND | ND | 100mL | 100mL
2016-10-21 | ND | ND | 100mL | 100mL
2016-10-24 | ND | ND | 100mL | 100mL
2016-10-25 | 350 | 2 | 100mL | 100mL
2016-10-26 | 540 | ND | 100mL | 100mL
2016-10-27 | 240 | ND | 100mL | 100mL
2016-10-28 | 350 | 1.8 | 100mL | 100mL
2016-10-31 | >1600 | 17 | 100mL | 100mL
2016-11-02 | ND | ND | 100mL | 100mL
2016-11-03 | ND | ND | 100mL | 100mL
2016-11-04 | ND | ND | 100mL | 100mL
2016-11-07 | ND | ND | 100mL | 100mL
2016-11-08 | 1.8 | ND | 100mL | 100mL | 1.2 | NTU
2016-11-09 | 2 | 2 | 100mL | 100mL | 1.6 | NTU
2016-11-10 | ND | ND | 100mL | 100mL | 0.93 | NTU
2016-11-11 | ND | ND | 100mL | 100mL | 1.1 | NTU
2016-11-14 | ND | ND | 100mL | 100mL | 1.7 | NTU
2016-11-15 | ND | ND | 100mL | 100mL | 1.1 | NTU
2016-11-16 | ND | ND | 100mL | 100mL | 1 | NTU
2016-11-17 | ND | ND | 100mL | 100mL | 0.63 | NTU
2016-11-18 | ND | ND | 100mL | 100mL | 0.92 | NTU
2016-11-21 | ND | ND | 100mL | 100mL | 2 | NTU
2016-11-22 | ND | ND | 100mL | 100mL | 0.98 | NTU
2016-11-23 | ND | ND | 100mL | 100mL | 0.7 | NTU
2016-11-28 | ND | ND | 100mL | 100mL | 0.8 | NTU
2016-11-29 | 2 | ND | 100mL | 100mL | 1 | NTU
2016-11-30 | ND | ND | 100mL | 100mL | 0.86 | NTU
2016-12-01 | ND | ND | 100mL | 100mL | 0.1 | NTU
2016-12-02 | ND | ND | 100mL | 100mL | 0.92 | NTU
2016-12-05 | ND | ND | 100mL | 100mL | 0.86 | NTU
2016-12-06 | ND | ND | 100mL | 100mL | 1 | NTU
2016-12-07 | ND | ND | 100mL | 100mL | 1.2 | NTU
2016-12-08 | ND | ND | 100mL | 100mL | 0.72 | NTU
2016-12-09 | ND | ND | 100mL | 100mL | 1 | NTU
2016-12-12 | ND | ND | 100mL | 100mL | 1.8 | NTU
2016-12-13 | ND | ND | 100mL | 100mL | 1.9 | NTU
2016-12-14 | ND | ND | 100mL | 100mL | 2.2 | NTU
2016-12-15 | ND | ND | 100mL | 100mL | 1.6 | NTU
2016-12-16 | ND | ND | 100mL | 100mL | 0.96 | NTU
2016-12-19 | 110 | 11 | 100mL | 100mL | 1.3 | NTU
2016-12-20 | ND | ND | 100mL | 100mL | 0.76 | NTU
2016-12-21 | ND | ND | 100mL | 100mL | 1.5 | NTU
2016-12-22 | ND | ND | 100mL | 100mL | 0.48 | NTU
2016-12-23 | ND | ND | 100mL | 100mL | 0.4 | NTU
2016-12-27 | 10 | ND | 100mL | 100mL | 0.57 | NTU
2016-12-28 | 33 | ND | 100mL | 100mL | 0.68 | NTU
2016-12-29 | ND | ND | 100mL | 100mL | 0.76 | NTU
2016-12-30 | 11 | ND | 100mL | 100mL | 0.69 | NTU

## Daily 2017
Effluent 7 - Sample Type: Water
Wastewater Treatment Plant
Date | Total Coliforms Results | Fecal Coliforms Results | Total Coliforms Units | Fecal Coliforms Units | Turbidity | Units
2017-01-03 | ND | ND | 100mL | 100mL | 0.63 | NTU
2017-01-04 | 7.8 | ND | 100mL | 100mL | 1.1 | NTU
2017-01-05 | ND | ND | 100mL | 100mL | 0.54 | NTU
2017-01-06 | ND | ND | 100mL | 100mL | 0.82 | NTU
2017-01-09 | 7.8 | ND | 100mL | 100mL | 0.84 | NTU
2017-01-10 | >1600 | >1600 | 100mL | 100mL | 1.3 | NTU
2017-01-12 | 17 | ND | 100mL | 100mL | 0.53 | NTU
2017-01-13 | 2 | ND | 100mL | 100mL | 2.1 | NTU
2017-01-16 | ND | ND | 100mL | 100mL | 0.75 | NTU
2017-01-17 | ND | ND | 100mL | 100mL | 0.87 | NTU
2017-01-18 | ND | ND | 100mL | 100mL | 0.68 | NTU
2017-01-19 | 4.5 | ND | 100mL | 100mL | 0.84 | NTU
2017-01-20 | ND | ND | 100mL | 100mL | 0.73 | NTU
2017-01-23 | ND | ND | 100mL | 100mL | 1.1 | NTU
2017-01-24 | ND | ND | 100mL | 100mL | 0.93 | NTU
2017-01-25 | ND | ND | 100mL | 100mL | 0.68 | NTU
2017-01-26 | ND | ND | 100mL | 100mL | 0.6 | NTU
2017-01-27 | 2 | ND | 100mL | 100mL | 0.65 | NTU
2017-02-01 | 4.5 | ND | 100mL | 100mL | 0.99 | NTU
2017-02-02 | ND | ND | 100mL | 100mL | 0.48 | NTU
2017-02-03 | ND | ND | 100mL | 100mL | 0.69 | NTU
2017-02-06 | 2 | ND | 100mL | 100mL | 0.57 | NTU
2017-02-07 | 2 | ND | 100mL | 100mL | 0.34 | NTU
2017-02-13 | ND | ND | 100mL | 100mL | 0.67 | NTU
2017-02-14 | ND | ND | 100mL | 100mL | 0.61 | NTU
2017-02-15 | ND | ND | 100mL | 100mL | 0.86 | NTU
2017-02-16 | 2 | ND | 100mL | 100mL | 0.33 | NTU
2017-02-17 | 23 | ND | 100mL | 100mL | 0.47 | NTU
2017-02-21 | 4 | ND | 100mL | 100mL | 0.67 | NTU
2017-02-22 | ND | ND | 100mL | 100mL | 0.61 | NTU
2017-02-23 | ND | ND | 100mL | 100mL | 0.91 | NTU
2017-02-24 | ND | ND | 100mL | 100mL | 0.27 | NTU
2017-02-27 | ND | ND | 100mL | 100mL | 0.95 | NTU
2017-02-28 | ND | ND | 100mL | 100mL | 1.3 | NTU
2017-03-01 | ND | ND | 100mL | 100mL | 0.97 | NTU
2017-03-02 | ND | ND | 100mL | 100mL | 0.56 | NTU
2017-03-03 | 7.8 | ND | 100mL | 100mL | 0.6 | NTU
2017-03-06 | ND | ND | 100mL | 100mL | 0.66 | NTU
2017-03-07 | ND | ND | 100mL | 100mL | 0.61 | NTU
2017-03-08 | ND | ND | 100mL | 100mL | 0.38 | NTU
2017-03-09 | 23 | ND | 100mL | 100mL | 0.54 | NTU
2017-03-10 | ND | ND | 100mL | 100mL | 0.58 | NTU
2017-03-13 | ND | ND | 100mL | 100mL | 1.2 | NTU
2017-03-14 | ND | ND | 100mL | 100mL | 1.1 | NTU
2017-03-15 | 4 | ND | 100mL | 100mL | 0.8 | NTU
2017-03-16 | 4 | ND | 100mL | 100mL | 0.69 | NTU
2017-03-17 | 7.8 | ND | 100mL | 100mL | 0.66 | NTU
2017-03-20 | ND | ND | 100mL | 100mL | 1 | NTU
2017-03-21 | ND | ND | 100mL | 100mL | 1.7 | NTU
2017-03-22 | ND | ND | 100mL | 100mL | 7.6 | NTU
2017-03-23 | ND | ND | 100mL | 100mL | 1.5 | NTU
2017-03-24 | ND | ND | 100mL | 100mL | 0.72 | NTU
2017-03-27 | 240 | ND | 100mL | 100mL | 1.6 | NTU
2017-03-28 | ND | ND | 100mL | 100mL | 1.3 | NTU
2017-03-29 | ND | ND | 100mL | 100mL | 0.89 | NTU
2017-03-30 | ND | ND | 100mL | 100mL | 0.57 | NTU
2017-03-31 | ND | ND | 100mL | 100mL | 0.1 | NTU
2017-04-03 | ND | ND | 100mL | 100mL | 1.5 | NTU
2017-04-04 | ND | ND | 100mL | 100mL | 1.2 | NTU
2017-04-05 | ND | ND | 100mL | 100mL | 1.4 | NTU
2017-04-06 | ND | ND | 100mL | 100mL | 1.5 | NTU
2017-04-07 | ND | ND | 100mL | 100mL | 1.4 | NTU
2017-04-10 | ND | ND | 100mL | 100mL | 1.9 | NTU
2017-04-11 | ND | ND | 100mL | 100mL | 2 | NTU
2017-04-13 | ND | ND | 100mL | 100mL | 1.4 | NTU
2017-04-14 | ND | ND | 100mL | 100mL | 1.2 | NTU
2017-04-17 | 13 | ND | 100mL | 100mL | 6.3 | NTU
2017-04-18 | ND | ND | 100mL | 100mL | 5.3 | NTU
2017-04-19 | 2 | 2 | 100mL | 100mL | 2.3 | NTU
2017-04-20 | ND | ND | 100mL | 100mL | 1.6 | NTU
2017-04-21 | 2 | ND | 100mL | 100mL | 1.2 | NTU
2017-04-24 | 4.5 | ND | 100mL | 100mL | 1.8 | NTU
2017-04-25 | 2 | ND | 100mL | 100mL | 23 | NTU
2017-04-26 | ND | ND | 100mL | 100mL | 1.3 | NTU
2017-04-27 | ND | ND | 100mL | 100mL | 1.3 | NTU
2017-04-28 | ND | ND | 100mL | 100mL | 2.4 | NTU
2017-05-01 | ND | ND | 100mL | 100mL | 2.4 | NTU
2017-05-02 | 110 | 4.5 | 100mL | 100mL | 160 | NTU
2017-05-03 | >1600 | 1.8 | 100mL | 100mL | 88 | NTU
2017-05-04 | 27 | ND | 100mL | 100mL | 1.2 | NTU
2017-05-05 | 49 | 13 | 100mL | 100mL | 0.95 | NTU
2017-05-09 | >1600 | >1600 | 100mL | 100mL | 0.79 | NTU
2017-05-10 | >1600 | >1600 | 100mL | 100mL | 3.5 | NTU
2017-05-11 | 540 | 110 | 100mL | 100mL | 1.4 | NTU
2017-05-12 | ND | ND | 100mL | 100mL | 0.13 | NTU
2017-05-15 | ND | ND | 100mL | 100mL | ND | NTU
2017-05-16 | >1600 | 1600 | 100mL | 100mL | 1.6 | NTU
2017-05-17 | ND | ND | 100mL | 100mL | ND | NTU
2017-05-18 | 1600 | 33 | 100mL | 100mL | 1 | NTU
2017-05-19 | 170 | 23 | 100mL | 100mL | 1.6 | NTU
2017-05-22 | 46 | 46 | 100mL | 100mL | 0.65 | NTU
2017-05-23 | >1600 | >1600 | 100mL | 100mL | 15 | NTU
2017-05-24 | >1600 | >1600 | 100mL | 100mL | 4.9 | NTU
2017-05-25 | >1600 | >1600 | 100mL | 100mL | 1.6 | NTU
2017-05-26 | >1600 | >1600 | 100mL | 100mL | 1.1 | NTU
2017-05-30 | 240 | 130 | 100mL | 100mL | 1.2 | NTU
2017-05-31 | >1600 | >1600 | 100mL | 100mL | 2.8 | NTU
2017-06-01 | >1600 | >1600 | 100mL | 100mL | 3.1 | NTU
2017-06-02 | 920 | 350 | 100mL | 100mL | 1.4 | NTU
2017-06-05 | 170 | 110 | 100mL | 100mL | 2.8 | NTU
2017-06-06 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-07 | ND | ND | 100mL | 100mL | 5.4 | NTU
2017-06-08 | 22 | 6.8 | 100mL | 100mL | 6.5 | NTU
2017-06-09 | 2 | ND | 100mL | 100mL | 2.7 | NTU
2017-06-12 | ND | ND | 100mL | 100mL | 3.2 | NTU
2017-06-13 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-14 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-15 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-16 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-19 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-20 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-21 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-22 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-23 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-26 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-27 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-28 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-29 | ND | ND | 100mL | 100mL | ND | NTU
2017-06-30 | ND | ND | 100mL | 100mL | ND | NTU
2017-07-05 | ND | ND | 100mL | 100mL | ND | NTU
2017-07-06 | ND | ND | 100mL | 100mL | 0.12 | NTU
2017-07-07 | ND | ND | 100mL | 100mL | 0.44 | NTU
2017-07-10 | ND | ND | 100mL | 100mL | 0.14 | NTU
2017-07-11 | ND | ND | 100mL | 100mL | 0.1 | NTU
2017-07-12 | ND | ND | 100mL | 100mL | 0.22 | NTU
2017-07-13 | ND | ND | 100mL | 100mL | 0.12 | NTU
2017-07-14 | ND | ND | 100mL | 100mL | 0.13 | NTU
2017-07-17 | ND | ND | 100mL | 100mL | 0.15 | NTU
2017-07-18 | ND | ND | 100mL | 100mL | ND | NTU
2017-07-20 | ND | ND | 100mL | 100mL | ND | NTU
2017-07-21 | ND | ND | 100mL | 100mL | ND | NTU
2017-07-24 | ND | ND | 100mL | 100mL | ND | NTU
2017-07-25 | ND | ND | 100mL | 100mL | 0.11 | NTU
2017-07-27 | ND | ND | 100mL | 100mL | 0.11 | NTU
2017-07-28 | ND | ND | 100mL | 100mL | 0.53 | NTU
2017-07-31 | ND | ND | 100mL | 100mL | 0.83 | NTU
2017-08-01 | ND | ND | 100mL | 100mL | 0.48 | NTU
2017-08-02 | ND | ND | 100mL | 100mL | 0.15 | NTU
2017-08-03 | ND | ND | 100mL | 100mL | 0.15 | NTU
2017-08-04 | ND | ND | 100mL | 100mL | 0.43 | NTU
2017-08-07 | ND | ND | 100mL | 100mL | 1.4 | NTU
2017-08-08 | ND | ND | 100mL | 100mL | 0.11 | NTU
2017-08-09 | ND | ND | 100mL | 100mL | 0.59 | NTU
2017-08-10 | ND | ND | 100mL | 100mL | 0.49 | NTU
2017-08-11 | ND | ND | 100mL | 100mL | 0.29 | NTU
2017-08-14 | ND | ND | 100mL | 100mL | 0.33 | NTU
2017-08-15 | ND | ND | 100mL | 100mL | 1.6 | NTU
2017-08-16 | ND | ND | 100mL | 100mL | ND | NTU
2017-08-17 | ND | ND | 100mL | 100mL | ND | NTU
2017-08-18 | ND | ND | 100mL | 100mL | 0.33 | NTU
2017-08-21 | ND | ND | 100mL | 100mL | 0.28 | NTU
2017-08-22 | ND | ND | 100mL | 100mL | 0.42 | NTU
2017-08-23 | ND | ND | 100mL | 100mL | 0.33 | NTU
2017-08-24 | ND | ND | 100mL | 100mL | ND | NTU
2017-08-28 | ND | ND | 100mL | 100mL | ND | NTU
2017-08-29 | ND | ND | 100mL | 100mL | 0.44 | NTU
2017-08-30 | ND | ND | 100mL | 100mL | 0.19 | NTU
2017-08-31 | ND | ND | 100mL | 100mL | ND | NTU
2017-09-01 | ND | ND | 100mL | 100mL | ND | NTU
2017-09-05 | ND | ND | 100mL | 100mL | 0.62 | NTU
2017-09-06 | ND | ND | 100mL | 100mL | 0.34 | NTU
2017-09-07 | ND | ND | 100mL | 100mL | ND | NTU
2017-09-08 | incorrect | container | used |  | ND | NTU
2017-09-11 | incorrect | container | used |  | 0.18 | NTU
2017-09-12 | ND | ND | 100mL | 100mL | 0.34 | NTU
2017-09-13 | ND | ND | 100mL | 100mL | 1.3 | NTU
2017-09-14 | ND | ND | 100mL | 100mL | 1.6 | NTU
2017-09-15 | 11 | 2 | 100mL | 100mL | 43 | NTU
2017-09-18 | ND | ND | 100mL | 100mL | 3.1 | NTU
2017-09-19 | ND | ND | 100mL | 100mL | 3.3 | NTU
2017-09-21 | ND | ND | 100mL | 100mL | 2.3 | NTU
2017-09-22 | ND | ND | 100mL | 100mL | 2.6 | NTU
2017-09-25 | ND | ND | 100mL | 100mL | 1.8 | NTU
2017-09-26 | ND | ND | 100mL | 100mL | 1.8 | NTU
2017-09-28 | 46 | 46 | 100mL | 100mL | 1.9 | NTU
2017-09-29 | 350 | 350 | 100mL | 100mL | 2.2 | NTU
2017-10-02 | ND | ND | 100mL | 100mL | 14 | NTU
2017-10-03 | ND | ND | 100mL | 100mL | 7.8 | NTU
2017-10-04 | ND | ND | 100mL | 100mL | 4 | NTU
2017-10-05 | ND | ND | 100mL | 100mL | 1.8 | NTU
2017-10-06 | ND | ND | 100mL | 100mL | 29 | NTU
2017-10-10 | ND | ND | 100mL | 100mL | 4.2 | NTU
Fires in Sonoma County - no testing was possible
2017-10-19 | >1600 | >1600 | 100mL | 100mL | 16 | NTU
2017-10-20 | >1600 | >1600 | 100mL | 100mL | 73 | NTU
2017-10-23 | >1600 | >1600 | 100mL | 100mL | 11 | NTU
2017-10-24 | >1600 | >1600 | 100mL | 100mL | 11 | NTU
2017-10-25 | >1600 | 920 | 100mL | 100mL | 11 | NTU
2017-10-26 | 920 | 170 | 100mL | 100mL | 17 | NTU
2017-10-27 | >1600 | >1600 | 100mL | 100mL | 33 | NTU
2017-10-30 | 4 | ND | 100mL | 100mL | 23 | NTU
2017-10-31 | >1600 | >1600 | 100mL | 100mL | 58 | NTU
2017-11-01 | >1600 | >1600 | 100mL | 100mL | 11 | NTU
2017-11-02 | >1600 | 920 | 100mL | 100mL | 30 | NTU
2017-11-03 | 2 | ND | 100mL | 100mL | 3.1 | NTU
2017-11-06 | 1600 | ND | 100mL | 100mL | 3.9 | NTU
2017-11-07 | 4 | ND | 100mL | 100mL | 2 | NTU
2017-11-08 | ND | ND | 100mL | 100mL | 0.57 | NTU
2017-11-09 | 2 | ND | 100mL | 100mL | 1 | NTU
2017-11-10 | ND | ND | 100mL | 100mL | 0.24 | NTU
2017-11-13 | 23 | ND | 100mL | 100mL | 0.79 | NTU
2017-11-14 | 2 | ND | 100mL | 100mL | 0.77 | NTU
2017-11-15 | 350 | ND | 100mL | 100mL | 2.8 | NTU
2017-11-16 | 70 | ND | 100mL | 100mL | 3 | NTU
2017-11-20 | 70 | ND | 100mL | 100mL | 1.8 | NTU
2017-11-22 | ND | ND | 100mL | 100mL | 5.4 | NTU
2017-11-27 | 11 | ND | 100mL | 100mL | 0.64 | NTU
2017-11-28 | 2 | ND | 100mL | 100mL | 1.1 | NTU
2017-11-30 | ND | ND | 100mL | 100mL | 1.3 | NTU
2017-12-01 | 9.1 | ND | 100mL | 100mL | 0.54 | NTU
2017-12-04 | 2 | ND | 100mL | 100mL | 0.76 | NTU
2018-12-05 | 2 | ND | 100mL | 100mL | 1.1 | NTU
2018-12-06 | 4.5 | ND | 100mL | 100mL | 1.1 | NTU
2017-12-07 | 2 | ND | 100mL | 100mL | 0.86 | NTU
2018-12-08 | 2 | ND | 100mL | 100mL | 1.1 | NTU
2018-12-11 | ND | ND | 100mL | 100mL | 1.6 | NTU
2018-12-12 | ND | ND | 100mL | 100mL | 8.4 | NTU
2018-12-13 | ND | ND | 100mL | 100mL | 1.6 | NTU
2018-12-14 | ND | ND | 100mL | 100mL | 1.2 | NTU
2018-12-15 | ND | ND | 100mL | 100mL | 0.72 | NTU
2018-12-18 | ND | ND | 100mL | 100mL | 0.89 | NTU
2017-12-20 | ND | ND | 100mL | 100mL | 1.4 | NTU
2017-12-22 | ND | ND | 100mL | 100mL | 0.59 | NTU
2017-12-27 | 2 | ND | 100mL | 100mL | 0.68 | NTU
2017-12-28 | ND | ND | 100mL | 100mL | 0.41 | NTU
2017-12-29 | ND | ND | 100mL | 100mL | 0.58 | NTU

## Weekly 2018
Weekly 2018
Effluent 7 - Sample Type: Water
Wastewater Treatment Plant
Date | Total Coliforms Results | Fecal Coliforms Results | Total Coliforms Units | Fecal Coliforms Units | Turbidity | Units | Ammonia as N | Units | Phosphorus, total | Units
2018-01-11 | ND | ND | 100mL | 100mL | 0.36 | NTU | ND | mg/L | 1.4 | mg/L | Weekly
| Influent | [7 empty] | Effluent
| Conventional Chem Parameters by APHA/EPA Methods | [7 empty] | Metals by EPA 200 Series Methods |  | Conventional Chem Parameters by APHA/EPA Methods | [11 empty] | Anions by EPA Method 300.0 |  |  |  | Microbiological Parameters by APHA Standard Methods
Date | Ammonia as N | Units | Biochemical Oxygen Demand | Units | Total Dissolved Solids | Units | Total Suspended Solids | Units | Aluminum | Units | Ammonia as N | Units | Biochemical Oxygen Demand | Units | Total Dissolved Solids | Units | Total Suspended Solids | Units | Turbidity | Units | Phosphorus, total | Units | Nitrate as N | Units | Nitrite as N | Units | Total Coliforms | Units | Fecal Coliforms | Units
2018-01-25 | 28 | mg/L | 1700 | mg/L | 980 | mg/L | 390 | mg/L | 0.1 | mg/L | ND | mg/L | ND | mg/L | 900 | mg/L | 1.7 | mg/L | 0.71 | NTU | 0.51 | mg/L | 0.71 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-02-01 | 40 | mg/L | 770 | mg/L | 1100 | mg/L | 330 | mg/L | 0.085 | mg/L | ND | mg/L | ND | mg/L | 880 | mg/L | 1.3 | mg/L | 0.35 | NTU | 0.21 | mg/L | 0.59 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL

## Monthly 2018
Monthly 2018
Effluent 7 - Sample Type: Water
Wastewater Treatment Plant
| Influent | [7 empty] | Effluent | [21 empty] | End of U.V. (18E2422-03)
| Conventional Chem Parameters by APHA/EPA Methods | [7 empty] | Metals by EPA 200 Series Methods |  | Conventional Chem Parameters by APHA/EPA Methods | [11 empty] | Anions by EPA Method 300.0 |  |  |  | Microbiological Parameters by APHA Standard Methods |  |  |  | Microbiological Parameters by APHA Standard Methods
Date | Ammonia as N | Units | Biochemical Oxygen Demand | Units | Total Dissolved Solids | Units | Total Suspended Solids | Units | Aluminum | Units | Ammonia as N | Units | Biochemical Oxygen Demand | Units | Total Dissolved Solids | Units | Total Suspended Solids | Units | Turbidity | Units | Phosphorus, total | Units | Nitrate as N | Units | Nitrite as N | Units | Total Coliforms | Units | Fecal Coliforms | Units |  | Total Coliforms Units |  | Fecal Coliforms Units
2018-01-18 | 45 | mg/L | 920 | mg/L | 1100 | mg/L | 170 | mg/L | ND | mg/L | ND | mg/L | ND | mg/L | 890 | mg/L | 1.1 | mg/L | 0.5 | NTU | 2 | mg/L | 0.54 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-02-08 | 38 | mg/L | 2200 | mg/L | 1200 | mg/L | 3100 | mg/L | 0.25 | mg/L | ND | mg/L | ND | mg/L | 910 | mg/L | 1.3 | mg/L | 0.34 | NTU | 0.36 | mg/L | 0.36 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-02-15 | 32 | mg/L | 1300 | mg/L | 960 | mg/L | 700 | mg/L | 0.098 | mg/L | ND | mg/L | ND | mg/L | 930 | mg/L | 1.9 | mg/L | 0.33 | NTU | 0.21 | mg/L | 0.52 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-02-22 | 35 | mg/L | 2300 | mg/L | 1100 | mg/L | 560 | mg/L | 0.2 | mg/L | ND | mg/L | ND | mg/L | 980 | mg/L | 2.2 | mg/L | 0.51 | NTU | 0.2 | mg/L | 0.87 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-03-01 | 21 | mg/L | 1200 | mg/L | 1000 | mg/L | 390 | mg/L | 0.48 | mg/L | ND | mg/L | ND | mg/L | 970 | mg/L | 7.6 | mg/L | 1.7 | NTU | 0.8 | mg/L | 0.67 | mg/L | ND | mg/L | 17 | MPN/100mL | ND | MPN/100mL
2018-03-08 | 6.7 | mg/L | 950 | mg/L | 1200 | mg/L | 310 | mg/L | 0.26 | mg/L | ND | mg/L | ND | mg/L | 930 | mg/L | 4.6 | mg/L | 1 | NTU | 0.77 | mg/L | 0.53 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-03-15 | 24 | mg/L | 1900 | mg/L | 1000 | mg/L | 480 | mg/L | 0.079 | mg/L | ND | mg/L | ND | mg/L | 910 | mg/L | 1.4 | mg/L | 0.3 | NTU | 0.35 | mg/L | 0.49 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-03-22 | 12 | mg/L | 1300 | mg/L | 920 | mg/L | 700 | mg/L | 0.14 | mg/L | ND | mg/L | 5 | mg/L | 900 | mg/L | 2.1 | mg/L | 0.59 | NTU | 1.2 | mg/L | 0.74 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-03-29 | 25 | mg/L | 810 | mg/L | 1100 | mg/L | 350 | mg/L | 0.19 | mg/L | ND | mg/L | ND | mg/L | 950 | mg/L | 3.8 | mg/L | 0.9 | NTU | 0.66 | mg/L | 0.67 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-04-05 | 33 | mg/L | 1400 | mg/L | 1300 | mg/L | 520 | mg/L | 0.055 | mg/L | ND | mg/L | ND | mg/L | 960 | mg/L | 1.3 | mg/L | 0.17 | NTU | 0.42 | mg/L | 0.49 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-04-12 | 16 | mg/L | 1300 | mg/L | 1000 | mg/L | 310 | mg/L | 0.15 | mg/L | ND | mg/L | ND | mg/L | 850 | mg/L | 1.3 | mg/L | 0.3 | NTU | 0.21 | mg/L | 0.6 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-04-19 | 26 | mg/L | 1300 | mg/L | 1000 | mg/L | 410 | mg/L | 0.1 | mg/L | ND | mg/L | ND | mg/L | 810 | mg/L | 2.6 | mg/L | 0.51 | NTU | 0.15 | mg/L | 0.62 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-04-26 | 54 | mg/L | 1200 | mg/L | 1200 | mg/L | 280 | mg/L | 0.094 | mg/L | ND | mg/L | ND | mg/L | 890 | mg/L | ND | mg/L | 0.31 | NTU | 0.074 | mg/L | 0.53 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-05-03 | 34 | mg/L | >2421 | mg/L | 1200 | mg/L | 500 | mg/L | 0.065 | mg/L | ND | mg/L | ND | mg/L | 880 | mg/L | 3.2 | mg/L | 1 | NTU | 0.099 | mg/L | 0.72 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-05-10 | 53 | mg/L | 1700 | mg/L | 1400 | mg/L | 360 | mg/L | 0.1 | mg/L | ND | mg/L | ND | mg/L | 890 | mg/L | 1.3 | mg/L | 1.3 | NTU | 0.099 | mg/L | 0.64 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2018-05-17 | 65 | mg/L | 1600 | mg/L | 1300 | mg/L | 460 | mg/L | 0.08 | mg/L | ND | mg/L | ND | mg/L | 950 | mg/L | 1.4 | mg/L | 0.92 | NTU | 0.14 | mg/L | 0.8 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
2018-05-24 | 44 | mg/L | 1200 | mg/L | 1100 | mg/L | 360 | mg/L | 0.15 | mg/L | ND | mg/L | 12 | mg/L | 920 | mg/L | 2.5 | mg/L | 0.51 | NTU | 0.46 | mg/L | 2.4 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
U.V. Channel Eff (18E2968-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-05-31 | 53 | mg/L | 730 | mg/L | 1300 | mg/L | 380 | mg/L | 0.11 | mg/L | ND | mg/L | ND | mg/L | 870 | mg/L | 2.2 | mg/L | 0.96 | NTU | 0.39 | mg/L | 0.63 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18F0735-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-06-07 | 30 | mg/L | 1400 | mg/L | 1200 | mg/L | 750 | mg/L | 0.097 | mg/L | ND | mg/L | ND | mg/L | 930 | mg/L | 1.5 | mg/L | 0.38 | NTU | 1.1 | mg/L | 6.4 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18F1480-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-06-14 | 15 | mg/L | 2000 | mg/L | 870 | mg/L | 320 | mg/L | 0.053 | mg/L | ND | mg/L | ND | mg/L | 910 | mg/L | ND | mg/L | 0.31 | NTU | 0.24 | mg/L | 2.7 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18F2126-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-06-21 | 38 | mg/L | 1300 | mg/L | 1300 | mg/L | 440 | mg/L | 0.18 | mg/L | ND | mg/L | ND | mg/L | 880 | mg/L | 2.4 | mg/L | 0.3 | NTU | 0.32 | mg/L | 3.1 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18F2126-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-06-28 | 51 | mg/L | 1600 | mg/L | 1300 | mg/L | 520 | mg/L | 0.34 | mg/L | ND | mg/L | ND | mg/L | 900 | mg/L | ND | mg/L | 0.24 | NTU | 0.84 | mg/L | 2 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18G0473-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-07-05 | 41 | mg/L | 550 | mg/L | 1200 | mg/L | 330 | mg/L | 0.059 | mg/L | ND | mg/L | ND | mg/L | 890 | mg/L | 1.3 | mg/L | 0.5 | NTU | 0.8 | mg/L | 3.1 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18G1256-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-07-12 | 46 | mg/L | 1500 | mg/L | 1500 | mg/L | 470 | mg/L | 0.31 | mg/L | ND | mg/L | ND | mg/L | 960 | mg/L | 12 | mg/L | 2 | NTU | 0.73 | mg/L | 0.85 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
2018-07-19 | 36 | mg/L | 1600 | mg/L | 1000 | mg/L | 490 | mg/L | 0.47 | mg/L | ND | mg/L | ND | mg/L | 930 | mg/L | 2.9 | mg/L | 2.5 | NTU | 1.5 | mg/L | 1.7 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18G2540-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-07-26 | 75 | mg/L | 1100 | mg/L | 1300 | mg/L | 710 | mg/L | 0.11 | mg/L | ND | mg/L | ND | mg/L | 980 | mg/L | 3.5 | mg/L | 0.76 | NTU | 1.5 | mg/L | 1.7 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18H0250-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-08-02 | 76 | mg/L | 1200 | mg/L | 1100 | mg/L | 610 | mg/L | 0.1 | mg/L | ND | mg/L | ND | mg/L | 950 | mg/L | 1.8 | mg/L | 0.52 | NTU | 0.35 | mg/L | 1.6 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18H1011-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-08-09 | 54 | mg/L | 1800 | mg/L | 1600 | mg/L | 380 | mg/L | 0.11 | mg/L | ND | mg/L | ND | mg/L | 990 | mg/L | 1.5 | mg/L | 0.76 | NTU | 0.36 | mg/L | 1.6 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
After U.V. (18H1734-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-08-16 | 40 | mg/L | 1700 | mg/L | 1500 | mg/L | 580 | mg/L | ND | mg/L | ND | mg/L | ND | mg/L | 980 | mg/L | 1.5 | mg/L | 0.48 | NTU | 1.7 | mg/L | 0.92 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
After U.V. (18H2415-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-08-23 | 32 | mg/L | 1000 | mg/L | 1200 | mg/L | 370 | mg/L | 0.18 | mg/L | ND | mg/L | ND | mg/L | 940 | mg/L | 7.7 | mg/L | 2.2 | NTU | 0.87 | mg/L | 0.55 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18H3053-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-08-30 | 120 | mg/L | 810 | mg/L | 1100 | mg/L | 610 | mg/L | 0.16 | mg/L | ND | mg/L | ND | mg/L | 920 | mg/L | 2.5 | mg/L | 0.89 | NTU | 1.2 | mg/L | 1.5 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18I0529-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-09-06 | 35 | mg/L | 2200 | mg/L | 1400 | mg/L | 490 | mg/L | 0.061 | mg/L | ND | mg/L | ND | mg/L | 980 | mg/L | 2 | mg/L | 240 | NTU | 1.2 | mg/L | 1.1 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18I1254-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-09-13 | 120 | mg/L | 2100 | mg/L | 1300 | mg/L | 800 | mg/L | 0.18 | mg/L | ND | mg/L | ND | mg/L | 940 | mg/L | 1.4 | mg/L | 0.45 | NTU | 0.72 | mg/L | 1 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18I1948-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-09-20 | 36 | mg/L | 1000 | mg/L | 650 | mg/L | 970 | mg/L | ND | mg/L | ND | mg/L | ND | mg/L | 980 | mg/L | 1.6 | mg/L | 0.93 | NTU | 0.49 | mg/L | 0.9 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18I2586-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-09-27 | 180 | mg/L | 1600 | mg/L | 1200 | mg/L | 1400 | mg/L | 0.064 | mg/L | ND | mg/L | ND | mg/L | 960 | mg/L | 1.2 | mg/L | 0.8 | NTU | 0.3 | mg/L | 0.74 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18J0637-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-10-04 | 51 | mg/L | 1400 | mg/L | 1400 | mg/L | 470 | mg/L | 0.061 | mg/L | ND | mg/L | ND | mg/L | 980 | mg/L | 1.6 | mg/L | 0.58 | NTU | 0.35 | mg/L | 1.2 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18J1319-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-10-11 | 39 | mg/L | 1500 | mg/L | 1200 | mg/L | 400 | mg/L | ND | mg/L | ND | mg/L | ND | mg/L | 1000 | mg/L | 1 | mg/L | 1.7 | NTU | 0.37 | mg/L | 1 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18J1984-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-10-18 | 41 | mg/L | 1200 | mg/L | 1000 | mg/L | 290 | mg/L | 0.1 | mg/L | ND | mg/L | ND | mg/L | 900 | mg/L | 2.9 | mg/L | 8.9 | NTU | 0.21 | mg/L | 0.67 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18J2580-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-10-25 | 31 | mg/L | <600 | mg/L | 1100 | mg/L | 210 | mg/L | 0.096 | mg/L | ND | mg/L | ND | mg/L | 990 | mg/L | 6 | mg/L | 0.51 | NTU | 0.21 | mg/L | 0.76 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
End of U.V. (18K0085-03)
Microbiological Parameters by APHA Standard Methods
[32 empty] | Total Coliforms Units |  | Fecal Coliforms Units
2018-11-01 | 48 | mg/L | 1700 | mg/L | 1300 | mg/L | 580 | mg/L | 0.086 | mg/L | ND | mg/L | ND | mg/L | 1000 | mg/L | 2.7 | mg/L | 0.56 | NTU | 0.15 | mg/L | 0.55 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
2018-11-08 | 40 | mg/L | 1100 | mg/L | 1100 | mg/L | 320 | mg/L | ND | mg/L | ND | mg/L | ND | mg/L | 930 | mg/L | 1.4 | mg/L | 0.2 | NTU | 0.092 | mg/L | 0.24 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
[31 empty] | Phosphorus Total - Influent | Units
2018-11-15 | 31 | mg/L | 760 | mg/L | 1300 | mg/L | 300 | mg/L | 0.061 | mg/L | ND | mg/L | ND | mg/L | 900 | mg/L | 3.3 | mg/L | 0.39 | NTU | 0.11 | mg/L | 0.39 | mg/L | ND | mg/L |  |  |  |  | 14 | mg/L
2018-11-20 | 27 | mg/L | 850 | mg/L | 910 | mg/L | 330 | mg/L | 0.1 | mg/L | ND | mg/L | ND | mg/L | 1100 | mg/L | 6 | mg/L | 0.44 | NTU | 0.19 | mg/L | 1 | mg/L | ND | mg/L |  |  |  |  | 14 | mg/L
2018-11-29 | 9.5 | mg/L | 1700 | mg/L | 700 | mg/L | 250 | mg/L | 0.065 | mg/L | ND | mg/L | ND | mg/L | 900 | mg/L | 1.3 | mg/L |  | NTU | 0.049 | mg/L | 0.37 | mg/L | ND | mg/L | 4.5 | MPN/100mL | ND | MPN/100mL
2018-12-06 | 34 | mg/L | 1900 | mg/L | 1300 | mg/L | 650 | mg/L | 0.057 | mg/L | ND | mg/L | ND | mg/L | 920 | mg/L | 2.1 | mg/L | 2.2 | NTU | 0.074 | mg/L | 0.4 | mg/L | ND | mg/L |  |  |  |  | 13 | mg/L
2018-12-13 | 44 | mg/L | 1300 | mg/L | 2100 | mg/L | 260 | mg/L | 0.055 | mg/L | ND | mg/L | ND | mg/L | 890 | mg/L | 1.9 | mg/L | 0.41 | NTU | 0.14 | mg/L | 0.45 | mg/L | ND | mg/L |  |  |  |  | 10 | mg/L
2018-12-20 | 29 | mg/L | 1400 | mg/L | 1100 | mg/L | 430 | mg/L | ND | mg/L | ND | mg/L | 8.8 | mg/L | 850 | mg/L | 1 | mg/L | 0.31 | NTU | 0.087 | mg/L | 0.23 | mg/L | ND | mg/L |  |  |  |  | 120 | mg/L
2018-12-27 | 43 | mg/L | 1300 | mg/L | 1400 | mg/L | 400 | mg/L | ND | mg/L | ND | mg | ND | mg/L | 840 | mg/L | 3.6 | mg/L | 1.1 | NTU | 0.06 | mg/L | 1.1 | mg/L | ND | mg/L |  |  |  |  | 25 | mg/L

## Monthly 2019
Monthly 2019
Effluent 7 - Sample Type: Water
Wastewater Treatment Plant
| Influent | [9 empty] | Effluent | [21 empty] | End of U.V.
| Conventional Chem Parameters by APHA/EPA Methods | [9 empty] | Metals by EPA 200 Series Methods |  | Conventional Chem Parameters by APHA/EPA Methods | [11 empty] | Anions by EPA Method 300.0 |  |  |  | Microbiological Parameters by APHA Standard Methods |  |  |  | Microbiological Parameters by APHA Standard Methods
Date | Ammonia as N | Units | Biochemical Oxygen Demand | Units | Total Dissolved Solids | Units | Total Suspended Solids | Units | Phosphorus, total | Units | Aluminum | Units | Ammonia as N | Units | Biochemical Oxygen Demand | Units | Total Dissolved Solids | Units | Total Suspended Solids | Units | Turbidity | Units | Phosphorus, total | Units | Nitrate as N | Units | Nitrite as N | Units | Total Coliforms | Units | Fecal Coliforms | Units |  | Total Coliforms Units |  | Fecal Coliforms Units
2019-01-03 | 29 | mg/L | 200 | mg/L | 1200 | mg/L | 380 | mg/L | 14 | mg/L | ND | mg/L | ND | mg/L | ND | mg/L | 900 | mg/L | 2.5 | mg/L | 0.83 | NTU | 0.056 | mg/L | 0.69 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
2019-01-10 | 36 | mg/L | 2300 | mg/L | 1300 | mg/L | 370 | mg/L | 17 | mg/L | 0.069 | mg/L | ND | mg/L | ND | mg/L | 810 | mg/L | 4 | mg/L | 2.1 | NTU | 0.071 | mg/L | ND | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
2019-01-17 | [10 empty] | 0.24 | mg/L | ND | mg/L | ND | mg/L | 780 | mg/L | 3.7 | mg/L | 1.8 | NTU | 0.072 | mg/L | 0.57 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2019-01-24 | [10 empty] | 0.1 | mg/L | [6 empty] | 2.4 | mg/L | 0.18 | NTU |  |  | 1.2 | mg/L |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-01-31 | [10 empty] | 0.11 | mg/L | [6 empty] | 9.2 | mg/L | 2.1 | NTU |  |  | 1.3 | mg/L |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-02-07 | [10 empty] | 0.15 | mg/L | [6 empty] | 2.1 | mg/L | 0.66 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-02-15 | [10 empty] | 0.1 | mg/L | [6 empty] | 7.2 | mg/L | 1.8 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-02-21 | [10 empty] | 0.12 | mg/L | [6 empty] | 2 | mg/L | 0.94 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-02-28 | [10 empty] | 0.17 | mg/L | [6 empty] | 1.5 | mg/L | 2 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-03-07 | 24 | mg/L | 1400 | mg/L | 1100 | mg/L | 300 | mg/L |  |  | 0.095 | mg/L | ND | mg/L | ND | mg/L | 680 | mg/L | 2.2 | mg/L | 0.3 | NTU | ND | mg/L | 0.95 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL | ND | MPN/100mL
2019-03-14 | [10 empty] | ND | mg/L | [6 empty] | 1.9 | mg/L | 0.84 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-03-22 | [10 empty] | 0.11 | mg/L | [6 empty] | 1.4 | mg/L | 1 | NTU
2019-03-28 | [10 empty] | 0.16 | mg/L | [6 empty] | 7.6 | mg/L | 3.4 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-04-04 | [10 empty] | 0.062 | mg/L | [6 empty] | 1.6 | mg/L | 1.4 | NTU |  |  | 0.55 | mg/L |  |  | 0.16 | MPN/100mL | ND | MPN/100mL
2019-04-11 | [10 empty] | 0.12 | mg/L | [6 empty] | 8.4 | mg/L | 0.65 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-04-18 |  |  |  |  | Influent (19E1184-02) | [5 empty] | 0.081 | mg/L | [6 empty] | 18 | mg/L | 10 | NTU | ND | mg/L | 0.8 | mg/L |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-04-25 |  |  |  |  | Sample type water | [5 empty] | 0.32 | mg/L | [6 empty] | 17 | mg/L | 4 | NTU | [6 empty] | 33 | MPN/100mL | 4.5 | MPN/100mL
2019-05-02 |  |  |  | MBAS, calculated as LAS, nw 340 | [6 empty] | 0.26 | mg/L | [6 empty] | 20 | mg/L | 15 | NTU |  |  | 0.76 | mg |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-05-09 |  |  |  |  | 0.086 | mg/L |  |  |  |  | 0.38 | mg/L | [6 empty] | 16 | mg/L | 4.4 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-05-16 | [10 empty] | 1 | mg/L | [6 empty] | 2.2 | mg/L | 0.8 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL |  | Conventional Chem Parameters by APHA/EPA Methods
2019-05-23 | [10 empty] | 0.88 | mg/L | [6 empty] | 2.2 | mg/L | 1.3 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL |  | Oil and Grease (HEM)
2019-05-30 | [10 empty] | ND | mg/L | [6 empty] | 1.3 | mg/L | 0.56 | NTU | [6 empty] | 6.8 | MPN/100mL | ND | MPN/100mL |  | Reactor 1 |  | Reactor 2
2019-06-06 | [10 empty] | 0.096 | mg/L | [6 empty] | 5.7 | mg/L | 2.1 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL |  | ND | mg/L | ND | mg/L
2019-06-13 | [10 empty] | 0.15 | mg/L | [6 empty] | 5.2 | mg/L | 3.4 | NTU | [6 empty] | 540 | MPN/100mL | ND | MPN/100mL
2019-06-20 | [10 empty] | 0.072 | mg/L | [6 empty] | 2.3 | mg/L | 1.2 | NTU | ND | mg/L |  |  |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-06-27 | [10 empty] | 0.41 | mg/L | [6 empty] | 22 | mg/L | 15 | NTU | [6 empty] | 4 | MPN/100mL | ND | MPN/100mL
2019-07-11 | [10 empty] | 0.75 | mg/L | [6 empty] | 3.7 | mg/L | 1.9 | NTU |  |  | as NO3 |  |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-07-18 | [10 empty] | 0.08 | mg/L | [6 empty] | 2.7 | mg/L | 1.2 | NTU |  |  | 2.4 | mg/L |  |  | 33 | MPN/100mL | ND | MPN/100mL
2019-08-01 | [10 empty] | 0.36 | mg/L | [6 empty] | 12 | mg/L | 6.5 | NTU | [6 empty] | 15 | MPN/100mL | ND | MPN/100mL
2019-08-08 | [10 empty] | 0.65 | mg/L |  |  |  |  | 760 | mg/L | 56 | mg/L | 9.2 | NTU |  |  | as NO3 |  | as NO2 |  | ND | MPN/100mL | ND | MPN/100mL
2019-08-15 | Ammonia as N3 | [9 empty] | 0.053 | mg/L | [6 empty] | 4.3 | mg/L | 2.7 | NTU |  |  | 3.5 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2019-08-22 | 52 | [5 empty] | 290 | mg/L |  |  | 0.088 | mg/L |  |  | ND | mg/L |  |  | 2.5 | mg/L | 1.4 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-08-29 | [10 empty] | 1.5 | mg/L | [6 empty] | 1.5 | mg/L | 0.74 | NTU | [6 empty] | 6.8 | MPN/100mL | ND | MPN/100mL
2019-09-05 | [10 empty] | 0.19 | mg/L | [6 empty] | 2 | mg/L | 0.99 | NTU | [6 empty] | 17 | MPN/100mL | ND | MPN/100mL
2019-09-12 | [10 empty] | ND | mg/L | [6 empty] | 2.1 | mg/L | 1.4 | NTU |  |  | as NO3 |  |  |  | 7.8 | MPN/100mL | ND | MPN/100mL
2019-09-19 | [10 empty] | ND | mg/L | [6 empty] | 2.8 | mg/L | 1.1 | NTU | 0.07 | mg/L | 6 | mg/L |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-09-26 | [10 empty] | 0.55 | mg/L | ND | mg/L | ND | mg/L | 920 | mg/L | 6.4 | mg/L | 3.7 | NTU |  |  | ND | mg/L |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-10-03 | Ammonia as N3 | [9 empty] | 0.27 | mg/L | [6 empty] | 6.9 | mg/L | 1.2 | NTU | [10 empty] | ND | MPN/100mL | ND | MPN/100mL
2019-10-09 | 35 | mg/L | 1500 | mg/L |  |  |  |  | 9.3 | mg/L | 0.18 | mg/L | [6 empty] | 1.2 | mg/L | 0.29 | NTU | [6 empty] | 4 | MPN/100mL | ND | MPN/100mL
2019-10-16 | [10 empty] | 0.19 | mg/L | ND | mg/L |  |  |  |  | 2.1 | mg/L | 1.2 | NTU |  |  | 1.3 | mg/L | ND | mg/L | ND | MPN/100mL | ND | MPN/100mL
2019-10-23 |  |  | >2600 | mg/L | 1200 | mg/L | 420 | mg/L |  |  | ND | mg/L |  |  | ND | mg/L | 940 | mg/L | 2.3 | mg/L | 0.58 | NTU | 0.076 | mg/L |  |  |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-11-06 |  |  | 2000 | mg/L | 780 | mg/L | 1200 | mg/L |  |  | 0.055 | mg/L | ND | mg/L | ND | mg/L | 730 | mg/L | 1.6 | mg/L | 0.78 | NTU |  |  | 1.7 | mg/L |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-11-13 |  |  | 750 | mg/L | 1300 | mg/L | 180 | mg/L |  |  | 0.058 | mg/L | ND | mg/L | ND | mg/L | 890 | mg/L | 1.6 | mg/L | 0.99 | NTU |  |  | 1.1 | mg/L |  |  | 9.3 | MPN/100mL | 2 | MPN/100mL
2019-11-20 |  |  | 630 | mg/L | 910 | mg/L | 430 | mg/L |  |  | 0.14 | mg/L | 1.2 | mg/L | ND | mg/L | 920 | mg/L | 3.3 | mg/L | 2.1 | NTU |  |  | 1.3 | mg/L |  |  | ND | MPN/100mL | ND | MPN/100mL
2019-11-26 | [10 empty] | 0.11 | mg/L | ND | mg/L | ND | mg/L | 910 | mg/L | 2.8 | mg/L | 1.7 | NTU | [6 empty] | ND | MPN/100mL | ND | MPN/100mL